## Cover
BILL OF QUANTITIES (BOQ)
Project Name: | Riyadh Business Tower - Phase 1
Project Code: | RBT-2025-001
Client: | Al-Faisal Holdings Ltd.
Contractor: | Najd Construction Co.
Location: | King Fahd Road, Riyadh, KSA
Contract Date: | 15-Feb-2025
Duration: | 24 months
Currency: | Saudi Riyal (SAR)
Total Contract Value: | SAR 187,450,000
Document Version: | Rev. 3 - Final

## BOQ_Items
Item No. | Description | Unit | Quantity | Unit Rate (SAR) | Total Amount (SAR) | Category
1.01 | Site clearance and removal of existing structures | LS | 1 | 850000 | 850000 | Site Works
1.02 | Excavation for foundations up to 8m depth | m3 | 12500 | 145 | 1812500 | Site Works
1.03 | Dewatering during excavation works | month | 18 | 95000 | 1710000 | Site Works
2.01 | Reinforced concrete for raft foundation, Grade C40 | m3 | 4200 | 1850 | 7770000 | Concrete & Foundation
2.02 | Steel reinforcement bars Grade 60, supply & install | ton | 1850 | 4250 | 7862500 | Concrete & Foundation
2.03 | Concrete for columns and shear walls, Grade C50 | m3 | 3650 | 2100 | 7665000 | Concrete & Foundation
2.04 | Concrete slabs (post-tensioned), Grade C45 | m3 | 5400 | 2450 | 13230000 | Concrete & Foundation
3.01 | Structural steel framework (roof and atrium) | ton | 480 | 12500 | 6000000 | Structural & Facade
3.02 | Curtain wall glazing system, double glazed low-E | m2 | 18500 | 1850 | 34225000 | Structural & Facade
3.03 | Aluminum cladding panels with insulation | m2 | 6200 | 1250 | 7750000 | Structural & Facade
4.01 | MEP - HVAC central chiller plant (3000 TR) | LS | 1 | 14250000 | 14250000 | MEP
4.02 | MEP - Electrical main switchgear and transformers | LS | 1 | 8650000 | 8650000 | MEP
4.03 | MEP - Fire fighting system (sprinklers + FM200) | LS | 1 | 3850000 | 3850000 | MEP
4.04 | MEP - Plumbing and drainage system | LS | 1 | 2940000 | 2940000 | MEP
4.05 | MEP - Building Management System (BMS) | LS | 1 | 1685000 | 1685000 | MEP
4.06 | MEP - Elevators (high-speed, 8 units) | no | 8 | 1450000 | 11600000 | MEP
5.01 | Internal partitions - gypsum board with metal stud | m2 | 24500 | 165 | 4042500 | Finishes
5.02 | Floor finishes - imported marble (lobby & atrium) | m2 | 2400 | 850 | 2040000 | Finishes
5.03 | Floor finishes - porcelain tiles (offices) | m2 | 18200 | 220 | 4004000 | Finishes
5.04 | Suspended ceiling - mineral fiber acoustic tiles | m2 | 22800 | 145 | 3306000 | Finishes
5.05 | Painting - emulsion paint on internal walls | m2 | 78500 | 28 | 2198000 | Finishes
6.01 | External landscaping and hardscaping | LS | 1 | 2150000 | 2150000 | External Works
6.02 | Parking structure - 3 basement levels | m2 | 28500 | 1450 | 41325000 | External Works
7.01 | Project management and site supervision | month | 24 | 285000 | 6840000 | Preliminaries
7.02 | Insurance, bonds and statutory permits | LS | 1 | 1250000 | 1250000 | Preliminaries
TOTAL |  |  |  |  | 199005500

## Summary
SUMMARY BY CATEGORY
Category | Total (SAR) | % of Project
Site Works | 4372500 | 2.197%
Concrete & Foundation | 36527500 | 18.36%
Structural & Facade | 47975000 | 24.11%
MEP | 42975000 | 21.59%
Finishes | 15590500 | 7.834%
External Works | 43475000 | 21.85%
Preliminaries | 8090000 | 4.065%
GRAND TOTAL | 199005500 | 100%